## Maintenance_Catalogue
Key figures (KPIs) | Unit parameter | Top 10? | KPI-Category | Remarks to the key-figure (collection) | General remarks
Subject area of maintenance
Total number of FTE´s in the subject area of maintenance | Stock figure / FTE subject area |  | Structure figure/ Stock figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance | Flow figure / CHF |  | Operative costs / Flow figure | Subject area of maintenance = Support process maintenance in PromoS
Personnel expenditures in the subject area of maintenance | Flow figure / CHF |  | Operative costs / Flow figure | Personnel expenditures according to REKOLE; Subject area of maintenance = Support process maintenance in PromoS
Proportion of costs of externally rendered maintenance services in %: | Flow figure / CHF | X | Structure key-figure/ Degree of externalisation | Subject area of maintenance = Support process maintenance in PromoS
Costs of externally rendered maintenance/ Total costs of rendered maintenance * 100 | Flow figure / CHF
Degree of decentralisation in the subject area of maintenance in %: | Stock figure / Organisational units decentralised |  | Structure key-figure / Degree of decentralisation | Subject area of maintenance = Support process maintenance in PromoS
Number of decentralised organisation units in the subject area of maintenance/ Total number of FM in HC-organisation units * 100 | Stock figure / Organisational units FM in HC
Total costs in the subject area of maintenance per inpatient bed: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/ Stock figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance/ Number of inpatient beds | Stock figure / Inpatient beds
Total costs in the subject area of maintenance per FTE: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/ Stock figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance/ Total number of FTE | Stock figure / FTE hospital
Total costs in the subject area of maintenance per FTE FM in HC: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/ Stock figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area maintenance/ Total number of FTE FM in HC | Stock figure / FTE FM in HC
Total costs in the subject area of maintenance per inpatient case: | Flow figure / CHF | X | Operative cost-key-figure / Costs per absolute-/ Flow figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance/ Number of inpatient cases | Flow figure / Inpatient cases
Total costs in the subject area of maintenance per outpatient case: | Flow figure / CHF | X | Operative cost-key-figure / Costs per absolute-/ Flow figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance/ Number of outpatient cases | Flow figure / Outpatient cases
Total costs in the subject area of maintenance per care day: | Flow figure / CHF | X | Operative cost-key-figure / Costs per absolute-/ Flow figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance / Number of care days | Flow figure / Care Days
Total costs in the subject area of maintenance per patient: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/ Flow figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance / Number of patients | Flow figure / Patients
Total costs in the subject area of maintenance per inpatient discharge: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/ Flow figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance / Number of inpatient discharges | Flow figure / Discharges
Total costs in the subject area of maintenance per average length of stay: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/ Flow figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs of the subject area of maintenance / Average length of stay | Flow figure / Length of stay
Total costs in the subject area of maintenance in relation to the total costs of the hospital: | Flow figure / CHF | X | Operative cost-key-figure / Cost ratio | Subject area of maintenance = Support process maintenance in PromoS
Total costs of the subject area of maintenance / Total costs of the hospital | Flow figure / CHF
Specialist quota in the subject area of maintenance in %: | Stock figure / FTE subject area |  | Quality-key-figure / Structure quality personnel | Subject area of maintenance = Support process maintenance in PromoS
Number of FTE of specialists in the subject area of maintenance / (Number of FTE of specialists in the subject area of maintenance + Number of FTE of auxiliary staff in the subject area of maintenance) *100 | Stock figure / FTE subject area
Fluctuation rate in the subject area of maintenance in %: | Stock figure / FTE subject area |  | Quality-key-figure / Structure quality personnel | Subject area of maintenance = Support process maintenance in PromoS
Number of personnel departures in the subject area of maintenance / Average number of staff in the subject area of maintenance * 100 | Stock figure / FTE subject area
Absence quota due to illness in the subject area of maintenance in %: | Flow figure/ Absence time in hours |  | Quality-key-figure / Structure quality personnel | Subject area of maintenance = Support process maintenance in PromoS
Absence time in the subject area of maintenance / Planned working time in the subject area of maintenance * 100 | Flow figure / Planned working time in hours
Quota of overtime in the subject area of maintenance in %: | Flow figure / Overtime |  | Quality-key-figure / Structure quality personnel | Subject area of maintenance = Support process maintenance in PromoS
Overtime in the subject area of maintenance / Normal working hours in the subject area of maintenance * 100 | Flow figure / Working hours
Rate of continuing education per employee in the subject area of maintenance in %: | Flow figure / Hours of continuing education |  | Quality-key-figure / Structure quality personnel | Subject area of maintenance = Support process maintenance in PromoS
Hours of continuing education in the subject area of maintenance / Working hours in the subject area of maintenance * 100 | Flow figure / Working hours
Customer satisfaction for the subject area of maintenance in % | Stock figure / % |  | Quality-key-figure / Customer satisfaction | IFM-standard questionnaire internal customer satisfaction on initial level; Subject area of maintenance = Support process maintenance in PromoS
Number of managed medical technology objects | Stock figure / Objects |  | Structure figure / Absolute-/Stock figure
Number of FTE medical technology | Stock figure / FTE subject area |  | Structure figure / Absolute-/Stock figure
Internal budget medical technology | Flow figure / CHF |  | Structure figure / Absolute-/Stock figure
External budget medical technology | Flow figure / CHF |  | Structure figure / Absolute-/Stock figure
Number of maintained medical technology applications | Stock figure / Applications |  | Structure figure / Absolute-/Stock figure |  | With description of the application area
Number of medical technology incidents | Flow figure / Incidents |  | Structure figure / Absolute-/Stock figure
Number of managed objects | Stock figure / Objects |  | Structure figure / Absolute-/Stock figure | Definition asset according to Rekole
Number of FTE technology | Stock figure / FTE |  | Structure figure / Absolute-/Stock figure
Number of objects with status-oriented maintenance in relation to the total number of objects: | Stock figure / Objects | X | Structure figure / absolute-/ stock figure | Only objects within the database are rated as objects
Number of objects with status-oriented maintenance / Total number of objects | Stock figure / Objects
Number of objects with planned maintenance in relation to the total number of objects: | Stock figure / Objects | X | Structure figure / Absolute-/ stock figure | Only objects within the database are rated as objects
Number of objects with a planned maintenance / Total number of objects | Stock figure / Objects
Number of objects with condition-based maintenance (Inspection) | Stock figure / Objects |  | Structure figure / Absolute-/Stock figure |  | If necessary, in combination with time and/or economic key-figure
Number of objects with predictive maintenance | Stock figure / Objects |  | Structure figure / Absolute-/Stock figure |  | If necessary, in combination with time and/or performance and/or condition
Number of objects without maintenance strategy | Stock figure / Objects |  | Structure figure / Absolute-/Stock figure
Number of objects with risk assessment | Stock figure / Objects |  | Structure figure / Absolute-/Stock figure
Internal budget technology | Stock figure / CHF |  | Structure figure / Absolute-/Stock figure
External budget technology | Stock figure / CHF |  | Structure figure / Absolute-/Stock figure
Number of maintained technology applications | Stock figure / Applications |  | Structure figure / Absolute-/Stock figure |  | With description of the application area
Proportion of administrative activities of technology employees | Stock figure / % |  | Structure figure / Absolute-/Stock figure
Number of incidents technology | Flow figure / Reports |  | Structure figure / Absolute-/Flow figure
Number of orders technology | Flow figure / Orders |  | Structure figure / Absolute-/Flow figure
Average number of outstanding orders medical technology | Flow figure / Orders |  | Structure figure / Absolute-/Flow figure
Average number of overdue orders medical technology | Flow figure / Orders |  | Structure figure / Absolute-/Flow figure
Number of orders medical technology | Flow figure / Orders |  | Structure figure / Absolute-/Flow figure
Average number of outstanding orders technology | Flow figure / Orders |  | Structure figure / Absolute-/Flow figure
Average number of overdue orders technology | Flow figure / Orders |  | Structure figure / Absolute-/Flow figure
Costs outdoor area | Flow figure / CHF |  | Structure figure / Absolute-/Flow figure | incl. Winter service
Maintenance costs technical, usable assets | Flow figure / CHF |  | Structure figure / Absolute-/Flow figure
Costs janitorial services | Flow figure / CHF |  | Structure figure / Absolute-/Flow figure
Damage costs from not timely detected causes: | Flow figure / CHF |  | Structure figure / Absolute-/Flow figure
Costs of resulting damages from not timely detected causes
Number of incidents | Flow figure / Incidents |  | Structure figure / Absolute-/Flow figure | Incidents can be breakdowns or unexpected findings at inspections or revisions (according to Leidinger, 2014, p. 3) | The more planned/preventive maintenance, the smaller the number of unplanned parts (according to Leidinger, 2014, p. 3)
Downtime- and maintenance costs: | Flow figure / CHF |  | Structure figure / Absolute-/Flow figure
Costs planned maintenance + costs unplanned maintenance + costs due to damage enhancement + amount of coverage due to operational interruption | Flow figure / CHF
Flow figure / CHF
Flow figure / CHF
Growth rate fixed assets: | Stock figure / CHF | X | Structure key-figure / Proportion | Sum of all assets = Balance sheet total according to Rekole
Fixed assets of new facilities / Total number of fixed assets | Stock figure / CHF
Building condition-index: | Stock figure / CHF |  | Structure key-figure / Proportion | Asset = Fixed assets, capital assets
Value of current state of assets / Mint condition of assets | Stock figure / CHF |  |  | Current state of assets = Depreciations included according to Rekole
Degree of implementation of the maintenance strategy: | Stock figure / Assets |  | Structure key-figure / Proportion
Number of assets with a defined maintenance strategy / Total number of assets | Stock figure / Assets
Backlog of orders: | Flow figure / CHF |  | Structure key-figure / Proportion
Number of resources tied up in fixed orders / Number of available resources | Flow figure / CHF
Coverage completeness of assets: | Stock figure / Assets |  | Structure key-figure / Proportion
Number of covered assets / Total number of managed assets | Stock figure / Assets
Asset managing quote personnel: | Stock figure / Facilities |  | Structure key-figure / Proportion | Facilities = Module plant section; Subject area of maintenance = Support process maintenance in PromoS
Number of managed technical facilities / Number of FTE maintenance | Stock figure / FTE subject area
Costs per device according to MepV: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure | MepV - Ordinance concerning medical devices; Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance / Number of devices according to MepV | Stock figure / Devices
Operating costs per m2 floor area: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure | Operating costs: Personnel-, maintenance-/service costs (without instruments, without IT, without energy); Floor area according to SIA 416
Total operating costs / Number m2 floor area | Stock figure / Floor area in m2
Operating costs per fixed asset: | Flow figure / CHF | X | Operative cost-key-figure / Costs per absolute-/ Stock figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs in the subject area of maintenance / Fixed assets | Flow figure / CHF
Costs stand-by service: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure
Costs stand-by service / Investment volume | Stock figure / CHF
Maintenance expenses for buildings per m2 space area: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure | Floor area according to SIA 416; Personnel expenditures according to REKOLE
(Personnel expenses maintenance (in-house or externally rendered)) + Needed materials for building monitoring, inspection, repairs, maintenance und answered service requests) / Number of m2 floor area | Flow figure / CHF
Stock figure / Floor area in m2
Personnel expenses for technical personnel per investment volume: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure | Incl. Medical technology; Personnel expenditures according to REKOLE
Personnel expenses for technical personnel / Investment volume | Stock figure / CHF
Maintenance costs building per building: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure
Costs maintenance building / Number buildings | Stock figure / Buildings
Maintenance-intensity: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure | Subject area of maintenance = Support process maintenance in PromoS
Total costs of the subject area of maintenance / Acquisition value | Stock figure / CHF
Costs maintenance per m2 floor area: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Stock figure | Floor area according to SIA 416
Costs maintenance / Number of m2 floor area | Stock figure / Floor area in m2
Mean external hourly rate: | Flow figure / Calculated hours |  | Operative cost-key-figure / Costs per absolute-/Stock figure
Calculated external hours * External hourly rate / Calculated external hours | Stock figure / CHF
Operating costs per case: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Flow figure | Operating costs: Personnel-, maintenance-/service costs (without instruments, without IT, without energy)
Total operating costs / (Number of inpatient cases + Number of outpatient cases) | Flow figure / Inpatient cases
Flow figure / Outpatient cases
Downtime costs per machine in %: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Flow figure
Downtime costs per machine / Total costs per machine * 100 | Flow figure / CHF
Maintenance costs per case: | Flow figure / CHF |  | Operative cost-key-figure / Costs per absolute-/Flow figure
Total costs subject area of maintenance / (Number of inpatient cases + Number of outpatient cases) | Flow figure / Inpatient cases
Flow figure / Outpatient cases
Proportion of costs of maintenance of infrastructure to the total costs of the subject area of maintenance in %: | Flow figure / CHF | X | Operative cost key-figure / Cost ratios | SKP 2 -> everything except medicinal technique; Subject area of maintenance = Support process maintenance in PromoS
Costs of the maintenance of infrastructure / Total costs of the subject area of maintenance * 100 | Flow figure / CHF
Proportion of costs of medicinal technique to the total costs of the subject area of maintenance in %: | Flow figure / CHF | X | Operative cost key-figure / Cost ratios | SKP 7+8 -> everything except infrastructure; Subject area of maintenance = Support process maintenance in PromoS
Costs of medicinal technique / Total costs of the subject area of maintenance * 100 | Flow figure / CHF
Proportion of costs operating technology/tenant fit-out and medical technology to the total costs subject area of maintenance in %: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
(Costs operating technology/tenant fit-out + Costs medical technology) / Total costs subject are of maintenance * 100 | Flow figure / CHF
Flow figure / CHF
Proportion of costs maintenance equipment/movables to the total costs subject area of maintenance in %: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
Operating technology/tenant fit-out & medical technology / Total costs subject area of maintenance * 100 | Flow figure / CHF
Maintenance proportion of service type: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
Costs maintenance / Total costs subject area of maintenance | Flow figure / CHF
Maintenance proportion of service type: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
Costs inspection / Total costs subject area of maintenance | Flow figure / CHF
Maintenance proportion of service type: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
Costs overhaul / Total costs subject area of maintenance | Flow figure / CHF
Material quota: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
Material costs maintenance / Total costs subject area of maintenance | Flow figure / CHF
Proportion of personnel maintenance: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Personnel expenditures according to REKOLE; Subject area of maintenance = Support process maintenance in PromoS
Personnel expenses subject area of maintenance / Total costs subject area of maintenance | Flow figure / CHF
Upkeep index: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
Upkeep costs / Total costs subject area of maintenance | Flow figure / CHF
Degree of planning: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios
Costs maintenance of planned orders / Total costs subject area of maintenance | Flow figure / CHF
Costs for repairs per m2 floor area: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Floor area according to SIA 416
Costs for repairs / Number of m2 space area | Stock figure / Space area in m2
Maintenance- + Downtime costs to production costs: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Downtime costs = lost profits
(Total costs subject area of maintenance + Downtime costs) / Total production costs | Flow figure / CHF
Flow figure / CHF
Maintenance- Asset value ratio: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios
Annual maintenance costs / Investment costs | Flow figure / CHF
Preventive maintenance work at non-critical facilities: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios
Amount of failure-related maintenance work at miscellaneous facilities / Total maintenance effort at all facilities | Flow figure / CHF
Upkeep costs - effectivity: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios
Upkeep costs / Replacement value | Stock value / CHF
Proportion of costs outdoor area to total costs subject area of maintenance in %: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios | Subject area of maintenance = Support process maintenance in PromoS
Total costs subject area of maintenance / (Costs space maintenance + Costs parking lot maintenance) * 100 | Flow figure / CHF
Flow figure / CHF
Handling figure replacement parts: | Flow figure / CHF |  | Operative cost key-figure / Cost ratios
Costs replacement parts / Book value replacement parts | Flow figure / CHF
Proportion of administrative activities from employees of medical technology in %: | Flow figure / Hours administration |  | Economic performance key-figure / Productivity
Number of hours of administrative activities / Total number of hours of medical technology related maintenance * 100 | Flow figure / Hours maintenance
Equipment effectiveness - failure frequency: | Flow figure / Failures |  | Economic performance key-figure / Productivity
Total number of failures / Total number of facilities | Stock figure / Anlagen
Degree of failure: | Flow figure / Failure related downtime in hours |  | Economic performance key-figure / Productivity
Failure related downtime / Productive operation time | Flow figure / Productive operation time in
hours
Incident rate per number of objects medicinal technique: | Flow figure / Incidents | X | Economic performance key-figure / Productivity | Only objects which are integrated and registered within the database are rated as objects
Number of incidents medicinal technique / Number of objects medicinal technique | Flow figure / Objects
Incident rate per number of objects infrastructure: | Flow figure / Incidents | X | Economic performance key-figure / Productivity | Only objects which are integrated and registered within the database are rated as objects
Number of infrastructure incidents / Number of infrastructure objects | Flow figure / Objects
Incident rate to investment volume: | Flow figure / CHF |  | Economic performance key-figure / Productivity
Costs for incidents / Investment volume | Flow figure / CHF
Maintenance-economy degree: | Flow figure / CHF |  | Economic performance key-figure / Productivity | Subject area of maintenance = Support process maintenance in PromoS
Costs subject area maintenance target / Costs subject area maintenance current | Flow figure / CHF
Backlog rate of orders: | Flow figure / Orders |  | Economic performance key-figure / Productivity | Available capacity = Number of the available tradesperson hours in a period for maintenance , without considering the overtime capacity
Backlog of orders / Available capacity | Stock figure / Capacity in hours
Degree of maintenance: | Flow figure / CHF |  | Economic performance key-figure / Productivity | Subject area of maintenance = Support process maintenance in PromoS
Total costs subject area of maintenance / Productive operating time | Flow figure / Productive operating time in hours
Value-added-proportion per person: | Flow figure / Productive operating time in hours |  | Economic performance key-figure / Productivity
Productive operating time / Current-working time | Stock figure / Current-working time in hours
Throughput time per maintenance order (delivery time): | Date |  | Economic performance key-figure / Productivity | Date of the technical completion = Delivery to customer
(Date of the technical completion - date incoming order) / Total number of orders | Date |  |  | Date of incoming order incl. technical clarification
Flow figure / Orders
Backlog of work in man-hours: | Flow figure / Open maintenance hours in hours |  | Economic performance key-figure/ Utilisation | Subject area of maintenance = Support process maintenance in PromoS
Open maintenance hours / Number of FTE in the subject area of maintenance | Stock figure / FTE subject area
Degree of processing: | Flow figure / Maintenance orders |  | Economic performance key-figure/ Utilisation
Finished maintenance orders / Total number of maintenance orders | Flow figure / Maintenance orders
Degree of processing planned maintenance: | Flow figure / Maintenance orders |  | Economic performance key-figure/ Utilisation
Finished planned maintenance orders / Total number of maintenance orders | Flow figure / Maintenance orders
Average utilisation of workforce of technology: | Flow figure / Billable hours |  | Economic performance key-figure/ Utilisation | billable hours in the subject area of technology = Productive hours at maintenance order at the expense of other cost centres; Subject area of maintenance = Support process maintenance in PromoS
Total number of billable hours workforce of the subject area of maintenance / Total number of hours to accomplish of the total workforce of the subject area of maintenance | Stock figure / Hours to accomplish
Technical fail rate: | Flow figure / Technical downtime in hours |  | Economic performance key-figure / Failure/Availability
Technical downtime / Target occupancy time | Stock figure / Target occupancy time in hours
Degree of breakdown: | Flow figure / Maintenance time in hours |  | Economic performance key-figure / Failure/Availability
Maintenance time / Target occupancy time | Stock figure / Target occupancy time in hours
Breakdown time per machine in %: | Flow figure / Breakdown time in hours |  | Economic performance key-figure / Failure/Availability |  | Could be interesting, but not feasible without sensors -> to be considered after the implementation of sensors
Breakdown time per medical device / Total running time per medical technique device * 100 | Stock figure / Total running time in hours
Mean time between failures: | Flow figure / Time between maintenance in hours |  | Economic performance key-figure / Failure/Availability
(Time between maintenance + Mean time between failures) / Number of break downs | Flow figure / Hours between breakdowns
Flow figure / Breakdowns
Mean Time Between Repair: | Flow figure / Mean time between repair in hours |  | Economic performance key-figure / Failure/Availability
Mean time between repair / Number of breakdowns | Flow figure / Breakdowns
Asset availability: | Flow figure / Useful life in hours |  | Economic performance key-figure / Failure/Availability
Useful life / (Useful life + technical downtime) | Flow figure / Technical downtime in hours
Reaction time in in the standby service operation: | Time of day |  | Economic performance key-figure / Process efficiency/throughput time
(Time begin of maintenance - Time begin of failure) / Number of incidents | Time of day
Flow figure / Incidents
Mean Time To Repair: | Flow figure / Downtime |  | Economic performance key-figure / Process efficiency/throughput time
Total downtime / Number of failures | Flow figure / Failures
Mean throughput time of fault messages technology: | Date / Time |  | Economic performance key-figure / Process efficiency/throughput time | Hours between receipt until completion
Sum (Date & time of day at fault message – Date & time of day at initial creation of the fault message / Total number of fault messages | Date / Time
Flow figure / Incidents
Mean throughput time orders technology: | Date / Time |  | Economic performance key-figure / Process efficiency/throughput time
Sum (Date & Daytime at technical order completion – Date & time of day at initial creation of order) / Total number of technical completed orders | Date / Time
Flow figure / Completed orders
Mean throughput time orders medical technology: | Flow figure / Throughput time |  | Economic performance key-figure / Process efficiency/throughput time | Hours between release until completion
Throughput time orders medical technology / Total number of medical technology orders | Flow figure / Orders medical technology
Mean throughput time report medical technology: | Date / Time |  | Economic performance key-figure / Process efficiency/throughput time
Sum (Date & time of day at report medical technology – Date & time of day initial creation of order) / Total number of reports medical technology | Date / Time
Flow figure / Orders medical technology
Urgency rate of unplanned orders: | Flow figure / Unplanned orders |  | Economic performance key-figure / Planning efficiency
Number of unplanned orders / Total number of orders | Flow figure / Orders
Urgency rate of planned orders: | Flow figure / Planned orders |  | Economic performance key-figure / Planning efficiency
Number of planned orders / Total number of orders | Flow figure / Orders
Deviations of planning: | Stock figure / Planned maintenance hours |  | Economic performance key-figure / Planning efficiency
Planned maintenance hours / Actual maintenance hours | Flow figure / Actual maintenance hours
Degree of planning of maintenance capacity: | Stock figure / Planned hours maintenance |  | Economic performance key-figure / Planning efficiency | Degree of planning of maintenance capacity = Proportion of the already planned hours of a workshop
Planned hours maintenance / Available capacity | Stock figure / Available capacity in hours
Degree of up-to-dateness: | Stock figure / Assets |  | Quality key-figure / Structure quality infrastructure
Number of state-of-the-art assets / Total number of assets | Stock figure / Assets
Age of assets in comparison to table of service life: | Stock figure / Year |  | Quality key-figure / Structure quality infrastructure
Age of asset - Table of service life | Years
Complaint quota: | Flow figure / Orders with complaints |  | Quality key-figure / Fulfilment of guidelines
Orders with complaints / Total number of orders | Flow figure / Orders
Timeliness: | Date |  | Quality key-figure / Fulfilment of guidelines |  | Corner end = Agreed date for the order completion; Final feedback (current-end) = Feedback date of the completed order
(Corner-end - Final confirmation) / Total number of orders | Date
Flow figure / Orders
Help-Desk - Comply with reaction time according to: | Flow figure / Orders with reaction time according to service-level |  | Quality key-figure / Fulfilment of guidelines
Number of complied reaction time according to SLA / Number of help-desk orders | Flow figure / Orders help desk

## Maintenance_Top10
Key figures (KPIs) | Unit parameter | KPI-Category | Level support process | Level sub-process | Output LekaS | Remarks to the key-figure (collection) | General remarks | Aim of the KPIs / What is to be achieved in concrete terms?
Subject area of maintenance
Proportion of costs of externally rendered maintenance services in %: | Flow figure / CHF | Structure key-figure/ Degree of externalisation | Maintenance |  | 1160 Maintenance and Operation | Subject area of maintenance = Support process maintenance in PromoS |  | Need to compare own FTE or more external services; productivity; decision for external allocation
Costs of externally rendered maintenance/ Total costs of rendered maintenance * 100 | Flow figure / CHF |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
| Stock figure / Organisational units FM in HC |  |  |  | maintenance of medical
| Stock figure / FTE FM in HC |  |  |  | movables
Total costs in the subject area of maintenance per inpatient case: | Flow figure / CHF | Operative cost-key-figure / Costs per absolute-/ Flow figure | Maintenance |  | 1160 Maintenance and Operation | Subject area of maintenance = Support process maintenance in PromoS |  | Trend comparison; useful in combination with base rate, CMI + average length of stay, income and in the benchmarking with others
Total costs in the subject area of maintenance/ Number of inpatient cases |  |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
maintenance of medical
| Flow figure / Inpatient cases |  |  |  | movables
Total costs in the subject area of maintenance per outpatient case: | Flow figure / CHF | Operative cost-key-figure / Costs per absolute-/ Flow figure | Maintenance |  | 1160 Maintenance and Operation | Subject area of maintenance = Support process maintenance in PromoS |  | Trend comparison; useful in combination with Tarmed, CMI, income and in the benchmarking with others
Total costs in the subject area of maintenance/ Number of outpatient cases |  |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
maintenance of medical
| Flow figure / Outpatient cases |  |  |  | movables
Total costs in the subject area of maintenance per care day: | Flow figure / CHF | Operative cost-key-figure / Costs per absolute-/ Flow figure | Maintenance |  | 1160 Maintenance and Operation | Subject area of maintenance = Support process maintenance in PromoS |  | Trend comparison; useful in combination with base rate, CMI + average length of stay, income and in the benchmarking with others
Total costs in the subject area of maintenance / Number of care days |  |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
| Flow figure / Care Days |  |  |  | maintenance of medical
| Flow figure / Length of stay |  |  |  | movables
Total costs in the subject area of maintenance in relation to the total costs of the hospital: | Flow figure / CHF | Operative cost-key-figure / Cost ratio | Maintenance |  | 1160 Maintenance and Operation | Subject area of maintenance = Support process maintenance in PromoS |  | Visualisation of the proportion of the subject area to the total costs
Total costs of the subject area of maintenance / Total costs of the hospital | Flow figure / CHF |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
| Flow figure / Planned working time in hours |  |  |  | maintenance of medical
| Flow figure / Working hours |  |  |  | movables
Number of objects with status-oriented maintenance in relation to the total number of objects: | Stock figure / Objects | Structure figure / absolute-/ stock figure | No process-key-figure |  | - | Only objects within the database are rated as objects |  | Moving away from a maintenance planning method to a status-oriented maintenance method.
Number of objects with status-oriented maintenance / Total number of objects | Stock figure / Objects
Number of objects with planned maintenance in relation to the total number of objects: | Stock figure / Objects | Structure figure / Absolute-/ stock figure | No process-key-figure |  | - | Only objects within the database are rated as objects |  | Moving away from a maintenance planning method to a status-oriented maintenance method.
Number of objects with a planned maintenance / Total number of objects | Stock figure / Objects
Flow figure / CHF
Flow figure / CHF
Flow figure / CHF
Growth rate fixed assets: | Stock figure / CHF | Structure key-figure / Proportions | No process-key-figure |  | - | Sum of all assets = Balance sheet total according to Rekole |  | Growth- + renewal rate as indicator
Fixed assets of new facilities / Total number of fixed assets | Stock figure / CHF
Stock figure / Floor area in m2
Operating costs per fixed asset: | Flow figure / CHF | Operative cost-key-figure / Costs per absolute-/ Stock figure | Maintenance |  | 1160 Maintenance and Operation | Subject area of maintenance = Support process maintenance in PromoS |  | for budgeting
Total costs in the subject area of maintenance / Fixed assets | Flow figure / CHF |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
| Flow figure / CHF |  |  |  | maintenance of medical
| Flow figure / Inpatient cases |  |  |  | movables
Flow figure / Outpatient cases
Proportion of costs of maintenance of infrastructure to the total costs of the subject area of maintenance in %: | Flow figure / CHF | Operative cost key-figure / Cost ratios | Maintenance |  | 1160 Maintenance and Operation | SKP 2 -> everything except medical technology; Subject area of maintenance = Support process maintenance in PromoS |  | Detection of options to reduce costs by changing from a maintenance related to a status-oriented maintenance strategy
Costs of the maintenance of infrastructure / Total costs of the subject area of maintenance * 100 |  |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
maintenance of medical
| Flow figure / CHF |  |  |  | movables
Proportion of costs of medicinal technique to the total costs of the subject area of maintenance in %: | Flow figure / CHF | Operative cost key-figure / Cost ratios | Maintenance |  | 1160 Maintenance and Operation | SKP 7+8 -> everything except infrastructure; Subject area of maintenance = Support process maintenance in PromoS |  | Detection of options to reduce costs by changing from a maintenance related to a status-oriented maintenance strategy
Costs of medicinal technique / Total costs of the subject area of maintenance * 100 | Flow figure / CHF |  |  |  | 1200 Outdoors + 1400 Workplace (without 1420 Space management) + 1990.10 Operation and preventative
| Flow figure / CHF |  |  |  | maintenance of medical
| Stock figure / Space area in m2 |  |  |  | movables
Flow figure / Productive operation time in
hours
Incident rate per number of objects medicinal technique: | Flow figure / Incidents | Economic performance key-figure / Productivity | No process-key-figure |  |  | Only objects which are integrated and registered within the database are rated as objects |  | Internal rating of efficiency, Trend & Benchmark
Number of incidents medicinal technique / Number of objects medicinal technique | Flow figure / Objects
Incident rate per number of objects infrastructure: | Flow figure / Incidents | Economic performance key-figure / Productivity | No process-key-figure |  |  | Only objects which are integrated and registered within the database are rated as objects |  | Internal rating of efficiency, Trend & Benchmark
Number of infrastructure incidents / Number of infrastructure objects | Flow figure / Objects